## Migration Type Details
Migration Method Matching Rules Reference: Sangfor Migration Evaluation Tool - Solution Planning and Implementation Guidelines
No. | VM Name | Whether it is a special virtual machine (preliminary assessment) | Group | OS Type | Recommended Migration Type | All Migration Type | Remark | Business Interruption Estimate
2 | VMware vCenter Server Appliance |  | vm | Other 3.x Linux (64-bit) | SCMT Point-to-Point Migration | SCMT Point-to-Point Migration、aHM、SCMT Agentless Migration |  | 5~10 Minutes
3 | synology |  | Discovered virtual machine | Other 3.x Linux (64-bit) | SCMT Point-to-Point Migration | SCMT Point-to-Point Migration、aHM、SCMT Agentless Migration |  | 5~10 Minutes
4 | VRC-Win7-64 |  | Discovered virtual machine | Microsoft Windows 7 (64-bit) | SCMT Point-to-Point Migration | SCMT Point-to-Point Migration、aHM、SCMT Agentless Migration |  | 5~10 Minutes
5 | Synology-DSM |  | Discovered virtual machine | Other 3.x Linux (64-bit) | Evaluation Failed |  | 磁盘总大小为0,可能磁盘信息获取异常 | 5~10 Minutes
6 | STA2 |  | Discovered virtual machine | CentOS 6 (64-bit) | SCMT Point-to-Point Migration | SCMT Point-to-Point Migration、aHM、SCMT Agentless Migration |  | 5~10 Minutes

## Risk Details - Precise
No. | Risk Name | Risk Level | Risk Type | Affected VM Count | Affected VM List | Pre-trigger Conditions | Potential Impact | Solution | Processing Status
1 | CPU Shares Detection | Medium Risk | Config | 5 | Click to view VM list | During migration, different sharing mechanisms may lead to inconsistent priority risks during resource competition. | CPU resource sharing amount, affecting priority during resource competition. | Before migration, weigh priority settings between different platforms and develop reasonable resource allocation strategies. | Medium Risk
2 | CPU Shares Level Detection | High Risk | Config | 5 | Click to view VM list | During migration, shared levels are not supported by the target platform, affecting resource scheduling. | Not supported by the target platform, affecting resource scheduling. | Evaluate the impact and perform performance optimization if necessary. | High Risk
3 | Memory Limit Detection | Medium Risk | Config | 5 | Click to view VM list | During migration, there are resource competition risks. | May lead to resource competition and affect virtual machine performance. | Evaluate the impact and increase resources to avoid resource competition. | Medium Risk
4 | Memory Shares Detection | Medium Risk | Config | 5 | Click to view VM list | During migration, there are resource competition risks. | May lead to resource competition and affect virtual machine performance. | Evaluate the impact and increase resources to avoid resource competition. | Medium Risk
5 | Disabled NPIV Detection | Medium Risk | Config | 5 | Click to view VM list | During migration, there are risks that the virtual machine cannot access storage in shared storage environments. | Disabled NPIV (N_Port ID Virtualization), affecting the virtual machine's storage access capability. | Test storage access before migrating to other platforms. | Medium Risk
6 | Virtual CPU Latency Sensitivity Level Detection | High Risk | Config | 5 | Click to view VM list | During migration, unsupported latency-sensitive configurations may lead to performance degradation and extended response time. | May lead to performance degradation and extended response time. | Evaluate the impact and perform performance optimization if necessary. | High Risk
7 | Enable/Disable DHCP Detection | Medium Risk | Config | 2 | Click to view VM list | DHCP configuration may behave inconsistently across different platforms, affecting IP address allocation methods. | May cause inconsistent behavior, affecting IP address allocation methods. | Before migration, confirm the network settings of the target platform and perform manual configuration when necessary. | Medium Risk
8 | Disk Set Maximum Storage I/O Limit | Medium Risk | Config | 4 | Click to view VM list | Storage I/O limits may behave inconsistently across different platforms, leading to performance issues. | May cause inconsistent performance, affecting virtual machine performance. | Before migration, evaluate the target platform's support for I/O limits and adjust accordingly. | Medium Risk
9 | Disk Shares Level | Medium Risk | Config | 4 | Click to view VM list | Share levels may be inconsistent across different platforms, affecting resource allocation strategies. | May be inconsistent across different platforms, affecting resource allocation strategies. | Before migration, review configurations and verify share settings to ensure consistency. | Medium Risk
10 | Device Storage I/O Share Amount Detection | Medium Risk | Config | 4 | Click to view VM list | Configuration of shared storage resource competition. | May affect virtual machine performance. | Ensure sufficient resources for important virtual machines as much as possible | Medium Risk
11 | Device Controller Key Value Detection | Medium Risk | Config | 4 | Click to view VM list | Disk drive letters may change after migration. | May affect virtual machine performance. | Need to confirm whether internal business involves disk naming and other impacts. | Medium Risk
12 | Device Unit Number Detection | Medium Risk | Config | 3 | Click to view VM list | Disk drive letters may change after migration. | May affect virtual machine performance. | Need to confirm whether internal business involves disk naming and other impacts. | Medium Risk
13 | Source End USB Device Risk | Medium Risk | Production Environment | 3 | Click to view VM list | USB device passthrough may not be available on the target platform, and there may be USB device driver compatibility issues, permission or access control issues. | USB devices configured on virtual machine detected, which may not work properly after migration | Record all USB device configurations and usage, evaluate whether the USB devices are essential, check if the target platform supports the corresponding USB devices, and prepare for reconnection or alternative solutions. | Medium Risk
14 | PCI Passthrough Device or Mounted ISO/Floppy Drive File Detection | Medium Risk | Config | 1 | Click to view VM list | Lock maximum memory setting may be ignored on the target platform. | May be ignored on the target platform. | In migration planning, confirm the implementation of memory locking mechanisms on each platform and make corresponding adjustments. | Medium Risk
15 | Virtual Machine Connected NIC Detection | Medium Risk | Production Environment | 1 | Click to view VM list | Inconsistencies in the number of network adapters of the original VM during migration may lead to migration failure or unstable migration networks. | The number of configured network adapters for the VM does not match the number obtained from vmtools. | Please check whether the number of configured network adapters for the VM matches the number obtained from vmtools. If there are inconsistencies, please address them before proceeding with the migration assessment of this VM. | Medium Risk

## VMs Affected by Migration Risk
Check Name | VM IS Database | VM Name | Group
CPU Shares Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | Synology-DSM | Discovered virtual machine
| x | STA2 | Discovered virtual machine
CPU Shares Level Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | Synology-DSM | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Memory Limit Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | Synology-DSM | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Memory Shares Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | Synology-DSM | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Disabled NPIV Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | Synology-DSM | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Virtual CPU Latency Sensitivity Level Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | Synology-DSM | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Enable/Disable DHCP Detection
| x | VMware vCenter Server Appliance | vm
| x | STA2 | Discovered virtual machine
Disk Set Maximum Storage I/O Limit
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Disk Shares Level
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Device Storage I/O Share Amount Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Device Controller Key Value Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Device Unit Number Detection
| x | VMware vCenter Server Appliance | vm
| x | synology | Discovered virtual machine
| x | STA2 | Discovered virtual machine
Source End USB Device Risk
| x | synology | Discovered virtual machine
| x | VRC-Win7-64 | Discovered virtual machine
| x | STA2 | Discovered virtual machine
PCI Passthrough Device or Mounted ISO/Floppy Drive File Detection
| x | STA2 | Discovered virtual machine
Virtual Machine Connected NIC Detection
| x | STA2 | Discovered virtual machine

## Risk Details - Fuzzy
No. | Risk Name | Risk Type | Trigger Conditions | Complete Trigger Conditions | Problem Impact | Risk Level | Further Confirmation Steps | Solution | Processing Status | Responsible Person | Emergency Plan
1 | Authorization Change Detection | Production Environment | Migration will cause OS SID changes. If the business application authorization is bound to SID, it will become invalid. | Migration will cause OS SID changes. If the business application authorization is bound to SID, it will become invalid. | The migration method SCMT Point-to-Point Migration Method has authorization change risks. | Low Risk |  | The business side needs to prepare for authorization changes in advance. | Completed | Technical Lead | It is recommended to make a complete backup before migration to ensure quick recovery of the original environment in case of migration failure. For more detailed contingency plans, please coordinate with Li Cong for specific details.
2 | Network Boot Protocol Type Detection | Config | During migration, network boot settings may be incompatible between platforms, causing normal startup failure risks | During migration, network boot settings may be incompatible between platforms, causing normal startup failure risks | May be incompatible between platforms, causing normal startup failure | High Risk |  | Impact scope is not well confirmed | Completed | Technical Lead | It is recommended to make a complete backup before migration to ensure quick recovery of the original environment in case of migration failure. For more detailed contingency plans, please coordinate with Li Cong for specific details.
3 | Virtio Boot Configuration Detection | Production Environment | Virtio drivers may have compatibility issues between different virtualization platforms, causing the virtual machine to fail to start normally after migration. | Virtio drivers may have compatibility issues between different virtualization platforms, causing the virtual machine to fail to start normally after migration. | The virtual machine has virtio boot enabled, which may cause startup failure after migration. | High Risk |  | Disable virtio boot setting | Completed | Technical Lead | It is recommended to make a complete backup before migration to ensure quick recovery of the original environment in case of migration failure. For more detailed contingency plans, please coordinate with Li Cong for specific details.
4 | Windows Virtio Disk Blue Screen Risk | Production Environment | Windows systems have specific requirements for virtio disk drivers. Driver compatibility issues during migration may cause system blue screen or failure to start normally. | Windows systems have specific requirements for virtio disk drivers. Driver compatibility issues during migration may cause system blue screen or failure to start normally. | Windows virtual machine has virtio disk configured, may blue screen after migration from VMware. | High Risk |  | Disable virtio disk before booting. | Completed | Technical Lead | It is recommended to make a complete backup before migration to ensure quick recovery of the original environment in case of migration failure. For more detailed contingency plans, please coordinate with Li Cong for specific details.

## VM Configuration Auto-Conversion Evaluation Details
Note: The following unsupported feature items are explained separately. For details, please refer to the [Feature Configuration Item Description] sub-table.
No. | VM Name | Group | Core VM Mark | Feature Category Compute (unsupport) | Feature Category Compute (support) | Feature Category Storage (unsupport) | Feature Category Storage (support) | Feature Category Network (unsupport) | Feature Category Network (support) | Feature Category Other (unsupport) | Feature Category Other (support) | Custom Tags | SCP Business Group Mapping | Device Scenario-Peripheral/Passthrough | Support Status | Optimization Suggestions/Alternatives | Remarks
2 | VMware vCenter Server Appliance | vm |  | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. cpuAllocation.shares.shares(CPU resource sharing value) cpuAllocation.shares.level(CPU resource sharing level) latencySensitivity.level(Latency sensitivity configuration) | hardware.numCPU(Number of CPU Cores) hardware.numCoresPerSocket(Cores per Socket) hardware.autoCoresPerSocket(Automatic Cores per Socket) hardware.memoryMB(Memory Size) cpuAllocation.limit(CPU Limit) memoryHotAddEnabled(Memory Hot Add) cpuHotAddEnabled(CPU Hot Add) | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. memoryAllocation.limit(Memory consumption limit) memoryAllocation.shares.shares(Memory resource sharing value) device.shares.shares(Device Storage Resource Sharing Amount) device.shares.level(Device Storage Resource Sharing Level) device.storageIOAllocation.share(Storage I/O Sharing Amount) The following configurations are currently not supported; please select an appropriate workaround based on your situation. device.unitNumber(Device Unit Number) device.controllerKey(Device Controller Key Value) | device.capacityInKB(Disk Capacity in KB) device.capacityInBytes(Disk Capacity in Bytes) device.backing(Disk Backing Type) device.storageIOAllocation.limit(Storage IOPS Limit) | The following configurations are currently not supported; please select an appropriate workaround based on your situation. npivTemporaryDisabled(NPIV temporary disable configuration) bootOptions.networkBootProtocol(Network boot protocol settings) net.ipConfig.dhcp(DHCP Settings) | net.macAddress(MAC Address) net.ipAddress(IP Address List) net.connected(Connection Status) net.dnsConfig.ipAddress(DNS Address) |  | name(VM Name) guestFullName(Guest Operating System Full Name) instanceUuid(Instance UUID) guestId(Guest Operating System ID) annotation(Virtual Machine Annotation) firmware(Firmware Type) | [] |  |  | fail | Detected 11 high-risk items and 0 medium-risk itemsIt is recommended to prioritize high-risk items to ensure successful migration.Main recommendation: Consider splitting disk or using other migration methods
3 | synology | Discovered virtual machine |  | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. cpuAllocation.shares.shares(CPU resource sharing value) cpuAllocation.shares.level(CPU resource sharing level) latencySensitivity.level(Latency sensitivity configuration) | hardware.numCPU(Number of CPU Cores) hardware.numCoresPerSocket(Cores per Socket) hardware.autoCoresPerSocket(Automatic Cores per Socket) hardware.memoryMB(Memory Size) cpuAllocation.limit(CPU Limit) memoryHotAddEnabled(Memory Hot Add) cpuHotAddEnabled(CPU Hot Add) | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. memoryAllocation.limit(Memory consumption limit) memoryAllocation.shares.shares(Memory resource sharing value) device.shares.shares(Device Storage Resource Sharing Amount) device.shares.level(Device Storage Resource Sharing Level) device.storageIOAllocation.share(Storage I/O Sharing Amount) The following configurations are currently not supported; please select an appropriate workaround based on your situation. device.unitNumber(Device Unit Number) device.controllerKey(Device Controller Key Value) | device.capacityInKB(Disk Capacity in KB) device.capacityInBytes(Disk Capacity in Bytes) device.backing(Disk Backing Type) device.storageIOAllocation.limit(Storage IOPS Limit) | The following configurations are currently not supported; please select an appropriate workaround based on your situation. npivTemporaryDisabled(NPIV temporary disable configuration) bootOptions.networkBootProtocol(Network boot protocol settings) | net.macAddress(MAC Address) net.ipAddress(IP Address List) net.connected(Connection Status) net.dnsConfig.ipAddress(DNS Address) |  | name(VM Name) guestFullName(Guest Operating System Full Name) instanceUuid(Instance UUID) guestId(Guest Operating System ID) annotation(Virtual Machine Annotation) firmware(Firmware Type) | [] |  |  | fail | Detected 1 high-risk items and 0 medium-risk itemsIt is recommended to prioritize high-risk items to ensure successful migration.Main recommendation: Consider splitting disk or using other migration methods
4 | VRC-Win7-64 | Discovered virtual machine |  | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. cpuAllocation.shares.shares(CPU resource sharing value) cpuAllocation.shares.level(CPU resource sharing level) latencySensitivity.level(Latency sensitivity configuration) | hardware.numCPU(Number of CPU Cores) hardware.numCoresPerSocket(Cores per Socket) hardware.autoCoresPerSocket(Automatic Cores per Socket) hardware.memoryMB(Memory Size) cpuAllocation.limit(CPU Limit) memoryHotAddEnabled(Memory Hot Add) cpuHotAddEnabled(CPU Hot Add) | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. memoryAllocation.limit(Memory consumption limit) memoryAllocation.shares.shares(Memory resource sharing value) device.shares.shares(Device Storage Resource Sharing Amount) device.shares.level(Device Storage Resource Sharing Level) device.storageIOAllocation.share(Storage I/O Sharing Amount) The following configurations are currently not supported; please select an appropriate workaround based on your situation. device.controllerKey(Device Controller Key Value) | device.capacityInKB(Disk Capacity in KB) device.capacityInBytes(Disk Capacity in Bytes) device.backing(Disk Backing Type) device.storageIOAllocation.limit(Storage IOPS Limit) | The following configurations are currently not supported; please select an appropriate workaround based on your situation. npivTemporaryDisabled(NPIV temporary disable configuration) bootOptions.networkBootProtocol(Network boot protocol settings) | net.macAddress(MAC Address) net.ipAddress(IP Address List) net.connected(Connection Status) net.dnsConfig.ipAddress(DNS Address) |  | name(VM Name) guestFullName(Guest Operating System Full Name) instanceUuid(Instance UUID) guestId(Guest Operating System ID) annotation(Virtual Machine Annotation) firmware(Firmware Type) | [] |  |  | fail | Detected 1 high-risk items and 0 medium-risk itemsIt is recommended to prioritize high-risk items to ensure successful migration.Main recommendation: Consider splitting disk or using other migration methods
5 | Synology-DSM | Discovered virtual machine |  | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. cpuAllocation.shares.shares(CPU resource sharing value) cpuAllocation.shares.level(CPU resource sharing level) latencySensitivity.level(Latency sensitivity configuration) | hardware.numCPU(Number of CPU Cores) hardware.numCoresPerSocket(Cores per Socket) hardware.autoCoresPerSocket(Automatic Cores per Socket) hardware.memoryMB(Memory Size) cpuAllocation.limit(CPU Limit) memoryHotAddEnabled(Memory Hot Add) cpuHotAddEnabled(CPU Hot Add) | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. memoryAllocation.limit(Memory consumption limit) memoryAllocation.shares.shares(Memory resource sharing value) | device.capacityInKB(Disk Capacity in KB) device.capacityInBytes(Disk Capacity in Bytes) device.backing(Disk Backing Type) device.storageIOAllocation.limit(Storage IOPS Limit) | The following configurations are currently not supported; please select an appropriate workaround based on your situation. npivTemporaryDisabled(NPIV temporary disable configuration) bootOptions.networkBootProtocol(Network boot protocol settings) | net.macAddress(MAC Address) net.ipAddress(IP Address List) net.connected(Connection Status) net.dnsConfig.ipAddress(DNS Address) |  | name(VM Name) guestFullName(Guest Operating System Full Name) instanceUuid(Instance UUID) guestId(Guest Operating System ID) annotation(Virtual Machine Annotation) firmware(Firmware Type) | [] |  |  | success | VM configuration meets HCI platform requirements, no adjustment needed.
6 | STA2 | Discovered virtual machine |  | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. cpuAllocation.shares.shares(CPU resource sharing value) cpuAllocation.shares.level(CPU resource sharing level) latencySensitivity.level(Latency sensitivity configuration) | hardware.numCPU(Number of CPU Cores) hardware.numCoresPerSocket(Cores per Socket) hardware.autoCoresPerSocket(Automatic Cores per Socket) hardware.memoryMB(Memory Size) cpuAllocation.limit(CPU Limit) memoryHotAddEnabled(Memory Hot Add) cpuHotAddEnabled(CPU Hot Add) | The following configurations are not directly supported, but there are similar tuning options available; performance best practices can be referenced. memoryAllocation.limit(Memory consumption limit) memoryAllocation.shares.shares(Memory resource sharing value) device.shares.shares(Device Storage Resource Sharing Amount) device.shares.level(Device Storage Resource Sharing Level) device.storageIOAllocation.share(Storage I/O Sharing Amount) The following configurations are currently not supported; please select an appropriate workaround based on your situation. device.unitNumber(Device Unit Number) device.controllerKey(Device Controller Key Value) | device.capacityInKB(Disk Capacity in KB) device.capacityInBytes(Disk Capacity in Bytes) device.backing(Disk Backing Type) device.storageIOAllocation.limit(Storage IOPS Limit) | The following configurations are currently not supported; please select an appropriate workaround based on your situation. npivTemporaryDisabled(NPIV temporary disable configuration) bootOptions.networkBootProtocol(Network boot protocol settings) net.ipConfig.dhcp(DHCP Settings) | net.macAddress(MAC Address) net.ipAddress(IP Address List) net.connected(Connection Status) net.dnsConfig.ipAddress(DNS Address) |  | name(VM Name) guestFullName(Guest Operating System Full Name) instanceUuid(Instance UUID) guestId(Guest Operating System ID) annotation(Virtual Machine Annotation) firmware(Firmware Type) | [] |  |  | fail | Detected 2 high-risk items and 0 medium-risk itemsIt is recommended to prioritize high-risk items to ensure successful migration.Main recommendation: Consider splitting disk or using other migration methods

## OS Compatibility Verification Details
Incompatible (Blacklist): Hyper-convergence has been tested and confirmed to have compatibility issues with this OS. It is recommended to further adapt the version. If required, please follow the customization process.
Incompatible (Untested): This version has not undergone compatibility testing, and its status is unknown. If confirmation is needed, you can apply for self-service testing or schedule compatibility testing with R&D. For the self-service application process, please refer to the platform guide: https://support.sangfor.com.cn/productDocument/read?product_id=33&version_id=970&category_id=347745
Minor Version Confirmation: The major version of this OS has passed compatibility verification, but the minor version has not been tested in detail. It is likely compatible but does not exclude potential risks from minor changes. For OS hosting critical business applications, it is recommended to use self-service compatibility testing or perform quick verification on the customer's production network: https://support.sangfor.com.cn/productDocument/read?product_id=33&version_id=970&category_id=347745
Compatible: Both major and minor versions have clearly passed compatibility testing. It is recommended to directly use this version for business deployment.
No. | VM Name | IS Database | Operating System Type | HCI Compatibility | SCMT Compatibility Status | HCI Compatibility Detailed Version | Limitations/Notes
5 | VMware vCenter Server Appliance | x | Other 3.x Linux (64-bit) | Version Confirmation Required | Version Confirmation Required | Other 3.x Linux (64-bit) (l2664) | Operating system not recognized or version not supported, migration risks exist
6 | synology | x | Other 3.x Linux (64-bit) | Version Confirmation Required | Version Confirmation Required | Other 3.x Linux (64-bit) (l2664) | Operating system not recognized or version not supported, migration risks exist
7 | VRC-Win7-64 | x | Microsoft Windows 7 (64-bit) | Version Confirmation Required | Compatible | Microsoft Windows 7 (64-bit) (win764) | Operating system not recognized or version not supported, migration risks exist
8 | Synology-DSM | x | Other 3.x Linux (64-bit) | Version Confirmation Required | Version Confirmation Required | Other 3.x Linux (64-bit) (l2664) | Operating system not recognized or version not supported, migration risks exist
9 | STA2 | x | CentOS 6 (64-bit) | Compatible | Compatible | CentOS 6 (64-bit) (l2664)

## Hardware Compatibility Verification Details
No. | Verification Object Identifier | Object Type | Hardware/Details | HCI Adaptation Status | Incompatible Components | Handling Suggestions | Processing Priority | Estimated Processing Period | Remarks

## VM Key Information Archive
No. | VM Name | Whether it is a special virtual machine (preliminary assessment) | Business Group | Migration Type | Information Collection Status | Handling Suggestions | VM Creation Time | VM Current Boot Time | VM Running Time | VM IP Address | Disk Provisioning Type | Disk Type | Disk Mode | Network Info | PCI Passthrough Device | ISO/Floppy Drive File | VM Operating System Type | VMTools Status | VM Host | VM Power State | UUID | SID | MAC Address | VM Boot Type | VM CPU Count | VM CPU Current Usage | VM Memory Size | VM Memory Current Usage | VM Disk Total Allocated Capacity | VM Disk Physical Usage
1 | VMware vCenter Server Appliance |  | vm | SCMT Point-to-Point Migration |  | B e f o r e m i g r a t i o n , w e i g h p r i o r i t y s e t t i n g s b e t w e e n d i f f e r e n t p l a t f o r m s a n d d e v e l o p r e a s o n a b l e r e s o u r c e a l l o c a t i o n s t r a t e g i e s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . T e s t s t o r a g e a c c e s s b e f o r e m i g r a t i n g t o o t h e r p l a t f o r m s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . I m p a c t s c o p e i s n o t w e l l c o n f i r m e d B e f o r e m i g r a t i o n , c o n f i r m t h e n e t w o r k s e t t i n g s o f t h e t a r g e t p l a t f o r m a n d p e r f o r m m a n u a l c o n f i g u r a t i o n w h e n n e c e s s a r y . B e f o r e m i g r a t i o n , e v a l u a t e t h e t a r g e t p l a t f o r m ' s s u p p o r t f o r I / O l i m i t s a n d a d j u s t a c c o r d i n g l y . B e f o r e m i g r a t i o n , r e v i e w c o n f i g u r a t i o n s a n d v e r i f y s h a r e s e t t i n g s t o e n s u r e c o n s i s t e n c y . E n s u r e s u f f i c i e n t r e s o u r c e s f o r i m p o r t a n t v i r t u a l m a c h i n e s a s m u c h a s p o s s i b l e N e e d t o c o n f i r m w h e t h e r i n t e r n a l b u s i n e s s i n v o l v e s d i s k n a m i n g a n d o t h e r i m p a c t s . N e e d t o c o n f i r m w h e t h e r i n t e r n a l b u s i n e s s i n v o l v e s d i s k n a m i n g a n d o t h e r i m p a c t s . | None | 2026-01-15 01:19:22.969551+00:00 | 197.86 | 10.70.255.49 | Virtual Disk | Virtual Disk | persistent | DHCP |  | x | Other 3.x Linux (64-bit) | Normal |  | Unknown | 525b2efd-775c-1e91-b241-24fc256672b5 |  | 00:0c:29:f9:8c:dd | bios | 2 | 544 MHz | 6.00 GB | 1904 MB | 279.84 GB | 94.79 GB
2 | synology |  | Discovered virtual machine | SCMT Point-to-Point Migration |  | B e f o r e m i g r a t i o n , w e i g h p r i o r i t y s e t t i n g s b e t w e e n d i f f e r e n t p l a t f o r m s a n d d e v e l o p r e a s o n a b l e r e s o u r c e a l l o c a t i o n s t r a t e g i e s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . T e s t s t o r a g e a c c e s s b e f o r e m i g r a t i n g t o o t h e r p l a t f o r m s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . I m p a c t s c o p e i s n o t w e l l c o n f i r m e d B e f o r e m i g r a t i o n , e v a l u a t e t h e t a r g e t p l a t f o r m ' s s u p p o r t f o r I / O l i m i t s a n d a d j u s t a c c o r d i n g l y . B e f o r e m i g r a t i o n , r e v i e w c o n f i g u r a t i o n s a n d v e r i f y s h a r e s e t t i n g s t o e n s u r e c o n s i s t e n c y . R e c o r d a l l U S B d e v i c e c o n f i g u r a t i o n s a n d u s a g e , e v a l u a t e w h e t h e r t h e U S B d e v i c e s a r e e s s e n t i a l , c h e c k i f t h e t a r g e t p l a t f o r m s u p p o r t s t h e c o r r e s p o n d i n g U S B d e v i c e s , a n d p r e p a r e f o r r e c o n n e c t i o n o r a l t e r n a t i v e s o l u t i o n s . E n s u r e s u f f i c i e n t r e s o u r c e s f o r i m p o r t a n t v i r t u a l m a c h i n e s a s m u c h a s p o s s i b l e N e e d t o c o n f i r m w h e t h e r i n t e r n a l b u s i n e s s i n v o l v e s d i s k n a m i n g a n d o t h e r i m p a c t s . N e e d t o c o n f i r m w h e t h e r i n t e r n a l b u s i n e s s i n v o l v e s d i s k n a m i n g a n d o t h e r i m p a c t s . D i s a b l e v i r t i o b o o t s e t t i n g | None |  |  |  | Virtual Disk | Virtual Disk | persistent | STATIC |  | x | Other 3.x Linux (64-bit) | Abnormal |  | Unknown | 52017ea7-dd16-3322-32df-336e07d25eef |  | 00:50:56:81:a6:ee | bios | 4 | 0 MHz | 8.00 GB | 0 MB | 601.00 GB | 601.07 GB
3 | VRC-Win7-64 |  | Discovered virtual machine | SCMT Point-to-Point Migration |  | B e f o r e m i g r a t i o n , w e i g h p r i o r i t y s e t t i n g s b e t w e e n d i f f e r e n t p l a t f o r m s a n d d e v e l o p r e a s o n a b l e r e s o u r c e a l l o c a t i o n s t r a t e g i e s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . T e s t s t o r a g e a c c e s s b e f o r e m i g r a t i n g t o o t h e r p l a t f o r m s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . I m p a c t s c o p e i s n o t w e l l c o n f i r m e d B e f o r e m i g r a t i o n , e v a l u a t e t h e t a r g e t p l a t f o r m ' s s u p p o r t f o r I / O l i m i t s a n d a d j u s t a c c o r d i n g l y . B e f o r e m i g r a t i o n , r e v i e w c o n f i g u r a t i o n s a n d v e r i f y s h a r e s e t t i n g s t o e n s u r e c o n s i s t e n c y . R e c o r d a l l U S B d e v i c e c o n f i g u r a t i o n s a n d u s a g e , e v a l u a t e w h e t h e r t h e U S B d e v i c e s a r e e s s e n t i a l , c h e c k i f t h e t a r g e t p l a t f o r m s u p p o r t s t h e c o r r e s p o n d i n g U S B d e v i c e s , a n d p r e p a r e f o r r e c o n n e c t i o n o r a l t e r n a t i v e s o l u t i o n s . E n s u r e s u f f i c i e n t r e s o u r c e s f o r i m p o r t a n t v i r t u a l m a c h i n e s a s m u c h a s p o s s i b l e N e e d t o c o n f i r m w h e t h e r i n t e r n a l b u s i n e s s i n v o l v e s d i s k n a m i n g a n d o t h e r i m p a c t s . D i s a b l e v i r t i o b o o t s e t t i n g D i s a b l e v i r t i o d i s k b e f o r e b o o t i n g . | None |  |  |  | Virtual Disk | Virtual Disk | persistent | STATIC |  | x | Microsoft Windows 7 (64-bit) | Abnormal |  | Unknown | 522e873f-834e-58ae-1c6e-afe669cb9b48 |  | 00:50:56:81:be:aa | bios | 2 | 0 MHz | 8.00 GB | 0 MB | 60.00 GB | 11.50 GB
4 | Synology-DSM |  | Discovered virtual machine | Evaluation Failed |  | B e f o r e m i g r a t i o n , w e i g h p r i o r i t y s e t t i n g s b e t w e e n d i f f e r e n t p l a t f o r m s a n d d e v e l o p r e a s o n a b l e r e s o u r c e a l l o c a t i o n s t r a t e g i e s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . T e s t s t o r a g e a c c e s s b e f o r e m i g r a t i n g t o o t h e r p l a t f o r m s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . I m p a c t s c o p e i s n o t w e l l c o n f i r m e d D i s a b l e v i r t i o b o o t s e t t i n g | None | [6 empty] | STATIC |  | x | Other 3.x Linux (64-bit) | Abnormal |  | Unknown | 52037c15-08c8-0a6b-a9cb-fb3242712bcd |  |  | bios | 2 | 0 MHz | 2.00 GB | 0 MB | 0.00 MB | 0.00 MB
5 | STA2 |  | Discovered virtual machine | SCMT Point-to-Point Migration |  | B e f o r e m i g r a t i o n , w e i g h p r i o r i t y s e t t i n g s b e t w e e n d i f f e r e n t p l a t f o r m s a n d d e v e l o p r e a s o n a b l e r e s o u r c e a l l o c a t i o n s t r a t e g i e s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . E v a l u a t e t h e i m p a c t a n d i n c r e a s e r e s o u r c e s t o a v o i d r e s o u r c e c o m p e t i t i o n . T e s t s t o r a g e a c c e s s b e f o r e m i g r a t i n g t o o t h e r p l a t f o r m s . E v a l u a t e t h e i m p a c t a n d p e r f o r m p e r f o r m a n c e o p t i m i z a t i o n i f n e c e s s a r y . I m p a c t s c o p e i s n o t w e l l c o n f i r m e d B e f o r e m i g r a t i o n , c o n f i r m t h e n e t w o r k s e t t i n g s o f t h e t a r g e t p l a t f o r m a n d p e r f o r m m a n u a l c o n f i g u r a t i o n w h e n n e c e s s a r y . B e f o r e m i g r a t i o n , e v a l u a t e t h e t a r g e t p l a t f o r m ' s s u p p o r t f o r I / O l i m i t s a n d a d j u s t a c c o r d i n g l y . B e f o r e m i g r a t i o n , r e v i e w c o n f i g u r a t i o n s a n d v e r i f y s h a r e s e t t i n g s t o e n s u r e c o n s i s t e n c y . R e c o r d a l l U S B d e v i c e c o n f i g u r a t i o n s a n d u s a g e , e v a l u a t e w h e t h e r t h e U S B d e v i c e s a r e e s s e n t i a l , c h e c k i f t h e t a r g e t p l a t f o r m s u p p o r t s t h e c o r r e s p o n d i n g U S B d e v i c e s , a n d p r e p a r e f o r r e c o n n e c t i o n o r a l t e r n a t i v e s o l u t i o n s . E n s u r e s u f f i c i e n t r e s o u r c e s f o r i m p o r t a n t v i r t u a l m a c h i n e s a s m u c h a s p o s s i b l e N e e d t o c o n f i r m w h e t h e r i n t e r n a l b u s i n e s s i n v o l v e s d i s k n a m i n g a n d o t h e r i m p a c t s . N e e d t o c o n f i r m w h e t h e r i n t e r n a l b u s i n e s s i n v o l v e s d i s k n a m i n g a n d o t h e r i m p a c t s . I n m i g r a t i o n p l a n n i n g , c o n f i r m t h e i m p l e m e n t a t i o n o f m e m o r y l o c k i n g m e c h a n i s m s o n e a c h p l a t f o r m a n d m a k e c o r r e s p o n d i n g a d j u s t m e n t s . P l e a s e c h e c k w h e t h e r t h e n u m b e r o f c o n f i g u r e d n e t w o r k a d a p t e r s f o r t h e V M m a t c h e s t h e n u m b e r o b t a i n e d f r o m v m t o o l s . I f t h e r e a r e i n c o n s i s t e n c i e s , p l e a s e a d d r e s s t h e m b e f o r e p r o c e e d i n g w i t h t h e m i g r a t i o n a s s e s s m e n t o f t h i s V M . | None | 2026-01-15 03:17:24.962316+00:00 | 195.90 | 10.70.255.52 | Virtual Disk | Virtual Disk | persistent | DHCP |  | √ | CentOS 6 (64-bit) | Normal |  | Unknown | 52b23c60-9cdd-bffb-8286-8b83c39f2c8c |  | 00:0c:29:37:ef:63,00:0c:29:37:ef:6d,00:0c:29:37:ef:77 | bios | 8 | 578 MHz | 8.00 GB | 1064 MB | 1120.00 GB | 112.72 GB

## Migration Cycle and Batch Arrangement Details
No. | Batch Number | Migration Date | Business Window Time | Included VM Count | Core VM Count | Data Volume | Migration Type Distribution | Migration Speed Factor | Estimated Batch Duration | Average Migration Time per VM | Responsible Person | Remarks
1 | vm |  | 10 | 1 | 0 | 0.27TB | SCMT Point-to-Point Migration: 1 | SCMT Point-to-Point Migration: 560Mbps | 34.2Minutes | 34.2Minutes | Migration Engineer | vm
2 | Discovered virtual machine |  | 10 | 4 | 0 | 1.74TB | SCMT Point-to-Point Migration: 3、Evaluation Failed: 1 | SCMT Point-to-Point Migration: 560Mbps、Evaluation Failed: 180Mbps | 225.5Minutes | 56.38Minutes | Migration Engineer | Discovered virtual machine

## Resource Assessment Report
Resource Dimension | Output Type | Host the resources required for VM migration | Future-growth resource readiness | Current + Future Demand Summary | Specification Test Basis | Current Demand Calculation Basis | Future Demand Calculation Basis | Reasons for More Resources Than VMware
CPU | Total | 35 cores | 39 cores | Core requirements accumulated 74 Cores (including existing and future growth) | 1. Performance matching test: 35 cores can support 5 VMs at peak load with CPU utilization ≤80%;2. Redundancy verification test: HA failover remains functional after node removal, sufficient core redundancy;3. Growth compatibility test: Can accommodate 10%% annual growth for next 3 years without secondary expansion pressure | Total VM cores 18 ×1.2 (peak factor) ×1.05 (virtualization overhead) ×1.2 (HA redundancy) = 35 cores | Existing cores: 35 cores × (1 + 5.0%)^2 = 39 cores | 1. HA redundancy required (1.2x): SCP cluster HA failover requires redundant cores;2. Virtualization overhead (1.05x): SCP virtualization layer consumes 5%% more resources than VMware;3. Peak load reservation (1.2x): Covers business peak traffic requirements
CPU | Specification | Frequency ≥3.4GHz | Frequency ≥3.4GHz | Clock frequency standard unified, conventional business scenario | 1. SCP Performance Baseline Test: Routine services meet performance standards at 3.4GHz clock frequency;2. Benchmark Test: Meet general business workload requirements | - | Frequency requirement 3.4GHz, supports future business growth | Regular business has moderate requirements for clock frequency,SCP can maintain standards similar to the original environment
Memory | Total | 50GB | 56GB | Total memory requirement 106GB (including existing and future growth) | 1. Bandwidth Verification Test: Under normal load, memory bandwidth is sufficient to support 5 VMs;2. Load Capacity Test: Single-node memory carrying capacity is sufficient;3. Redundancy Test: Need to reserve basic redundancy | Total VM Memory 35GB×1.1 (Base Factor)×1.08 (Virtualization Overhead)×1.2 (HA Redundancy)=50.2GB | Existing memory 50GB × (1+5%)^2 = 56GB | 1. Base Factor (1.1x): Current memory usage <70%, performance is sufficient;2. Virtualization Overhead (1.08x): SCP memory page table management requires additional resources;3. HA redundancy (1.2x): Failover requirements
Memory | Specification | DDR4 3200MHz | DDR4 3200MHz | Memory specification unified as DDR4 3200MHz | 1. Actual measurement: CPU paired with DDR4 3200MHz achieves sufficient memory bandwidth for multiple VMs concurrent requirements;2. Compatibility test: Low-spec memory bandwidth causes IO latency increase | - | - | VMware original environment is DDR4 3200MHz,SCP needs to upgrade specifications to offset the performance loss brought by virtualization overhead
Storage | Total | 2.9TB | 4.0TB | Total storage requirement 6.9TB (including existing and future expansion) | 1. Capacity redundancy test: Basic capacity redundancy required under normal load;2. Performance ratio test: SSD + SATA HDD storage ratio is reasonable; | Current storage usage 2.1TB ×1.1 (base factor) ×1.3 (redundancy configuration) = 2.9TB | Existing storage 2.9TB × (1+5%)^2 = 4.0TB | 1. Redundancy configuration (1.3x): Storage pool requires 3-replica redundancy for data security;2. Snapshot reservation: SCP snapshots occupy more space than VMware
Storage | Specification | Cache disk SSD + SATA HDD, data disk SSD + SATA HDD (ratio 1:4) | Cache disk SSD + SATA HDD, data disk SSD + SATA HDD (ratio 1:4) | Storage ratio unified as 1:4, disk type remains SSD + SATA HDD | 1. Performance test: SSD + SATA HDD caching hot data can increase IOPS to sufficient level, meeting requirements;2. Ratio test: 1:4 ratio achieves optimal balance between storage cost and performance | - | - | VMware originally used SATA SSD cache, SCP requires SSD + SATA HDD Offset performance loss from virtualized storage layer

## Feature Configuration Item Description
No. | Field Name | Configuration Name | Function | Impact Level
1 | hardware.simultaneousThreads | CPU logical thread configuration | Specifies the number of logical threads per physical CPU, affecting the multi-threading capability of the CPU design. This field is used to optimize performance in environments that support hyper-threading technology. | High
2 | cpuAllocation.reservation | CPU resource reservation | Amount of CPU resources reserved for the virtual machine | High
3 | cpuAllocation.expandableReservation | CPU reservation dynamic growth | Indicates whether CPU reservation is allowed to exceed the set base value. When this option is enabled, CPU reservation can grow dynamically during resource allocation. | Medium
4 | cpuAllocation.shares.shares | CPU resource sharing value | Defines the sharing value of the virtual machine for CPU resources, affecting the relative priority of resource allocation (e.g., higher value means higher priority). | High
5 | cpuAllocation.shares.level | CPU resource sharing level | Defines the level of CPU resource sharing, options include normal, high, low, etc. | High
6 | latencySensitivity.level | Latency sensitivity configuration | Sets the latency sensitivity level, affecting the virtual machine's handling of real-time or high-performance workloads. | High
7 | cpuHotRemoveEnabled | CPU hot remove feature | Enables CPU hot remove feature, allowing removal of CPU cores while running. | Medium
8 | cpuAffinity | CPU affinity configuration | CPU affinity configuration, defining the specific CPU list that the virtual machine is allowed to run on. | High
9 | memoryAffinity | Memory affinity configuration | Memory affinity configuration, controlling the virtual machine's memory usage policy. | High
10 | bootOptions.bootDelay | Boot delay time configuration | Boot delay time in milliseconds, allowing some adjustments or BIOS setup access during virtual machine startup. | Low
11 | bootOptions.bootRetryDelay | Auto-restart delay configuration | Specifies the delay time for automatic restart in milliseconds. | Low
12 | memoryAllocation.reservation | Memory reservation configuration | Amount of memory reserved for the virtual machine, ensuring it can still get this amount of memory when resources are tight. | High
13 | memoryAllocation.expandableReservation | Memory reservation dynamic growth | Indicates whether memory reservation is allowed to exceed the set base value, allowing memory to grow dynamically. | Medium
14 | memoryAllocation.limit | Memory consumption limit | Limits the maximum amount of memory the virtual machine can consume. | High
15 | memoryAllocation.shares.shares | Memory resource sharing value | Defines the sharing value of the virtual machine for memory resources, affecting the relative priority of memory resource configuration. | High
16 | memoryAllocation.shares.level | Memory resource sharing level | Defines the level of memory resource sharing, options include normal, high, low, etc. | High
17 | memoryReservationLockedToMax | Memory reservation lock configuration | Specifies whether to lock memory reservation to the maximum value, used to control the memory resources that the virtual machine can use. | Medium
18 | extraConfig | Extra configuration items storage | Stores extra configuration items, which can include various custom settings, such as NVRAM, virtual device family selection, PCI bridge configuration, etc. | Medium
19 | changeTrackingEnabled | Change tracking feature | Enables or disables change tracking, which allows virtual machines to track changes on their disks. This is particularly important for backup or snapshot operations. | Medium
20 | vFlashCacheReservation | vFlash cache reservation | vFlash cache size reserved for the virtual machine (usually in MB). vFlash is VMware's local flash cache technology used to accelerate virtual machine disk I/O. | High
21 | pmemFailoverEnabled | Persistent memory failover | Controls whether the virtual machine enables persistent memory failover functionality. | High
22 | device.unitNumber | Device Unit Number | Specify the unit number of the device | Low
23 | device.controllerKey | Device Controller Key Value | Specify the key value of the device controller | Low
24 | device.shares.shares | Device Storage Resource Sharing Amount | Set the storage resource sharing amount of the device | Low
25 | device.shares.level | Device Storage Resource Sharing Level | Set the storage resource sharing level of the device (e.g., Low, Medium, High) | Low
26 | device.storageIOAllocation.reservation | Storage I/O Reservation | Set the storage I/O reservation | Low
27 | device.storageIOAllocation.share | Storage I/O Sharing Amount | Set the storage I/O sharing amount of the device | Low
28 | pmem | Persistent memory configuration | Persistent Memory (PMEM) configuration | High
29 | npivTemporaryDisabled | NPIV temporary disable configuration | Indicates whether NPIV (Network Port ID Virtualization) is temporarily disabled. Usually set when involving fiber channel or network configuration. | Medium
30 | networkShaper | Network traffic limiting configuration | Configuration for controlling virtual machine network traffic, including bandwidth limitations, etc. | High
31 | bootOptions.networkBootProtocol | Network boot protocol settings | Network boot protocol settings, such as ipv4 or ipv6. | Low
32 | net.ipConfig.dhcp | DHCP Settings | Enable/Disable DHCP to control IP address allocation for virtual machines | Low
33 | vAppConfig | Virtual application configuration | vApp configuration information, providing settings for virtual applications, including properties, IP allocation, etc. | Medium
34 | changeVersion | Virtual machine configuration version information | Represents the version information of the virtual machine configuration. Automatically managed by the system, usually does not require manual configuration. | Low
35 | modified | Virtual machine last modification date | Last modification date of the virtual machine. Automatically managed by the system, usually does not require manual configuration. | Low
36 | version | Virtual machine version information | Version information of the virtual machine (such as vmx-08). Automatically generated by the system, usually does not require manual configuration. | Low
37 | uuid | Virtual machine unique identifier | Unique identifier of the VMware virtual machine | Low
38 | createDate | Virtual machine creation date | Creation date of the virtual machine | Low
39 | template | Virtual machine template configuration | Specifies whether the virtual machine is a template | Low
40 | tools | VMware Tools configuration | VMware Tools configuration information, including installation and configuration policies | Medium
41 | flags | Virtual machine flag information | Various flag information of the virtual machine | Medium
42 | consolePreferences | Console preference settings | Console preference settings. Automatically managed by the system, usually does not require manual configuration. | Low
43 | defaultPowerOps.powerOffType | Default power operation configuration | Default power operation configuration | Low
44 | rebootPowerOff | Restart shutdown virtual machine settings | Settings for restarting or shutting down the virtual machine. Automatically managed by the system, usually does not require manual configuration. | Low
45 | hardware.virtualICH7MPresent | Virtual ICH7M controller | Indicates whether the virtual machine has a virtual ICH7M controller | Low
46 | hardware.virtualSMCPresent | Virtual SMC controller | Indicates whether the virtual machine enables virtual SMC (System Management Controller). | Low
47 | hardware.motherboardLayout | Motherboard layout configuration | Specifies the motherboard layout of the virtual machine, describing the hardware configuration and layout of the host. | Low
48 | swapPlacement | Swap file location configuration | Specifies the storage location of the virtual machine swap file, which may be inherited, independent, or specifically controlled. | High
49 | bootOptions.enterBIOSSetup | Enter BIOS setup configuration | Specifies whether to enter the BIOS setup interface on the next boot. | Low
50 | bootOptions.efiSecureBootEnabled | EFI secure boot configuration | Enables or disables EFI secure boot, which provides additional security for the virtual machine, ensuring only authorized components are loaded. | High
51 | bootOptions.bootRetryEnabled | Boot failure recovery configuration | Recovery after boot failure, controlling whether the virtual machine automatically restarts when it fails, facilitating automatic recovery. | High
52 | ftInfo | Fault tolerance information configuration | Fault tolerance information, specifying whether this virtual machine enables VMware's fault tolerance feature, and providing detailed information about the fault tolerance status. | High
53 | repConfig | Replication configuration information | Replication configuration, specifying the replication settings for this virtual machine. | High
54 | maxMksConnections | Maximum MKS connections | Specifies the maximum number of MKS connections, used to control the number of sessions that can be connected simultaneously through VMware vSphere. | Low
55 | guestAutoLockEnabled | Guest automatic locking | Specifies whether to enable guest automatic locking function, facilitating automatic locking of the virtual machine when not in use. | Low
56 | managedBy | Virtual machine management entity | Points to the entity that manages this virtual machine, this attribute is used for resource statistics and management. This field is automatically managed by the system, usually does not require manual configuration. | Low
57 | nestedHVEnabled | Nested virtualization configuration | Specifies whether to enable nested virtualization, allowing virtualization software to run inside the virtual machine. | Medium
58 | vmxConfigChecksum | Configuration file checksum | Checksum, ensuring the integrity of the VMX configuration file. | Medium
59 | messageBusTunnelEnabled | Message bus tunnel | Whether to enable "message bus tunnel", used for cross-process message passing between virtual machines and ESXi hosts | Medium
60 | keyId | Virtual machine key identifier | Unique identifier of the virtual machine, ensuring the security and integrity of digital content. | Medium
61 | migrateEncryption | Migration encryption configuration | Controls whether the virtual machine enables migration encryption, ensuring data security during the migration process. | High
62 | sgxInfo.epcSize | SGX enclave cache size | SGX (Software Guard Extensions) is Intel's hardware-level security technology that protects sensitive code and data by creating encrypted "enclaves", which cannot be accessed even if the OS or VMM is compromised | High
63 | sgxInfo.flcMode | SGX enclave launch permissions | Controls the launch permissions of SGX enclaves (who can create/run enclaves) | High
64 | sgxInfo.lePubKeyHash | SGX launch public key hash | LE (Launch Enclave) public key hash value, used to verify enclave launch permissions | High
65 | sgxInfo.requireAttestation | SGX remote attestation requirements | Whether to require remote attestation, i.e., verifying the authenticity and integrity of SGX enclaves | High
66 | contentLibItemInfo | Content library item information | Content library item information | Low
67 | ftEncryptionMode | Fault tolerance encryption mode | Specifies the fault tolerance encryption mode of the virtual machine, used to protect data security during the fault tolerance process. | High
68 | guestMonitoringModeInfo.gmmFile | Guest monitoring file | Specifies the location of the virtual machine monitoring file, used to track data executed by the virtual machine. | Medium
69 | guestMonitoringModeInfo.gmmAppliance | Monitoring device information | Specifies the monitoring device information associated with the virtual machine. | Medium
70 | sevEnabled | Secure encrypted virtualization | Indicates whether to enable secure encrypted virtualization (SEV), which provides hardware-level encryption protection for the virtual machine. | High
71 | numaInfo | NUMA information display | Virtual machine NUMA information display | High
72 | vmxStatsCollectionEnabled | Statistics collection | Specifies whether to enable VMX statistics collection for performance evaluation and monitoring. | Medium
73 | vmOpNotificationToAppEnabled | Operation notification application | Indicates whether virtual machine operation notifications are sent to the application, facilitating automation and event handling. | Medium
74 | vmOpNotificationTimeout | Operation notification timeout | Sets the timeout value for virtual machine operation notifications, used to limit long unresponsiveness in notification handling. | Medium
75 | deviceSwap | Device exchange configuration | Device exchange special configuration, controlling the hot-plug behavior of virtual machine devices. | Medium
76 | fixedPassthruHotPlugEnabled | Fixed passthrough hot-plug | Whether to enable the hot-plug function of fixed passthrough devices, allowing devices to be directly connected or removed while running. | Medium
77 | metroFtEnabled | Metro fault tolerance function | Controls whether the virtual machine enables Metro fault tolerance function, allowing high-availability virtual machine fault tolerance in a wider geographical area. | High
78 | metroFtHostGroup | Metro fault tolerance host group | Specifies the host groups participating in Metro FT, ensuring that high-availability functionality can coordinate work among multiple physical hosts. | High

## VMware Migration Changes Comparison
Note: This table outlines information changes after migrating VMware VMs to the target platform. Please verify with application owners if any services depend on the modified items to avoid service issues
Information Category | Specific Information Point | SCMT Migration | Managed Migration | Remarks (Including SCMT Specific Details)
System Core Identifier | Windows SID | Change | No Change | The entire migration completely copies the system security identifier without additional modifications, and does not affect domain control and permission configurations that depend on SID
| Virtual Machine UUID (OS Layer) | Change | No Change | After SCMT migration, the OS UUID is regenerated. Applications that depend on the UUID (such as Windows licensing, EDR) require reauthorization. For managed migration: If the target is HCI 6.11.1 or above, it will remain unchanged.
| Virtualization Vendor Identification | Change | Change | After SCMT migration, it changes from "VMware" to "SangFor (underlying KVM)", applications bound to vendors need to adapt to KVM; managed migration is consistent
Hardware Configuration | Total CPU Cores | No Change (can be manually modified) | No Change (can be manually modified) | SCMT defaults to be consistent with the source machine, supports manual adjustment (minimum value 1 core); managed migration defaults to copying the source, can be manually adjusted
| Memory Size | No Change (can be manually modified) | No Change (can be manually modified) | SCMT defaults to be consistent with the source machine, supports manual adjustment (not less than 2G after change); managed migration is consistent
| Performance Optimization Tools (Guest Tools) | Change | Change | After SCMT migration, Windows 2003 and above, Linux kernel 2.6.18-128 and above automatically install SangFor tools, need to uninstall the source VMware Tools
Disk Configuration | Windows Disk Type (Dynamic/Basic) | Change | No Change | After SCMT migration, Windows dynamic disks are forcibly converted to basic disks; the same applies to managed migration, dynamic disks are not supported for retention
| Disk Driver Type | Change | Change | SCMT defaults to using virtio driver (overwriting the source SCSI driver); managed migration defaults to be consistent, can be manually adjusted to virtio
| Disk Partition Remaining Space Allocation | Change | No Change | During SCMT migration, when the remaining disk space is < 1G, the remaining space is automatically allocated to the last partition; managed migration retains the source allocation logic
| Disk Partition Format (GPT/MBR) | Change | No Change | During SCMT migration, disks not in GPT/MBR format are forcibly converted to GPT or MBR format; managed migration is consistent
| System Disk Order | Change | Change | During SCMT migration, when the system disk is not the first disk, it is automatically adjusted to the first one; managed migration is consistent
| Linux Disk Identifier (/dev/sda, etc.) | Change | Change | SCMT changes the disk driver to virtio, the disk identifier changes from /dev/sda→/dev/vda; the same applies to managed migration, UUID mounting needs to be used to avoid issues
Network Configuration | Network Adapter Driver Version | Change | Change | In SCMT, Windows 2003 and above defaults to virtio driver, Linux kernel 2.6.18-128 and above uses virtio (otherwise ide+e1000); managed migration is consistent
| Network Adapter MAC Address | Change (can be manually retained) | Change (can be manually retained) | SCMT defaults to generating a new MAC according to migration parameters, supports manually inputting the source MAC to retain it; managed migration is consistent
| Network Adapter IP Address | Change (can be manually retained) | Change (can be manually retained) | SCMT defaults to changing IP according to migration switch parameters, supports manual configuration to retain the source IP; managed migration is consistent
Operation and Configuration | VM Name | No Change (can be manually modified) | No Change (can be manually modified) | SCMT defaults to retaining the source name, supports customization during migration; managed migration is consistent
| Snapshot Mechanism | Change | Change | After SCMT migration, the original VMware snapshots become invalid and need to be recreated based on the SangFor CoW mechanism; managed migration is consistent
| Backup Association | Change | Change | After SCMT migration, the association with the source VMware backup system (such as NBU) is broken and needs to be reconfigured; managed migration is consistent
Special Devices | USB Device Mapping | Change | Change | After SCMT migration, the source USB mapping becomes invalid and needs to be manually re-established; managed migration is consistent
| Optical Drive / ISO Mount | Change | Change | After SCMT migration, the source ISO mount path becomes invalid and needs to be re-specified with media within the SangFor platform; managed migration is consistent